{"text_format":"2","workbook":"xlsx","n_sheets":2,"sheets":["VIS_EXT+ Curve","VIS-EXT"],"not_rendered":{"charts":2,"images":2,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[{"sheet":"VIS_EXT+ Curve","index":0,"reason":"not_a_worksheet"}],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"VIS-EXT","index":1,"n_rows":902,"n_cols":5,"rows_kept":902,"cut":false,"hidden":false,"merged":[[3,0,3,1],[4,0,4,1],[5,0,5,1],[6,0,6,1],[7,0,12,1],[13,0,14,1]]}
[null,null,"λ (nm)","R, 8°","R, 30°"]
[null,null,320,6.1674800000000003,9.4409399999999994]
[null,null,320.5,5.9694000000000003,9.1828900000000004]
["Theoretical Coating Data",null,321,5.7752100000000004,8.9281000000000006]
["VIS-EXT+ Coating",null,321.5,5.5849399999999996,8.6766500000000004]
["Coating Specification: \n",null,322,5.3985799999999999,8.4286300000000001]
["Ravg ≤0.5% @ 350 - 700nm",null,322.5,5.2161600000000004,8.1841100000000004]
["This data represents the theoretical performance of the coating per surface and is for reference only. \nVariations in performance may occur, however the coating will achieve the minimum performance specification listed above within the specified wavelength range. For more information please contact our Product and Application Support.\n",null,323,5.0376599999999998,7.9431700000000003]
[null,null,323.5,4.8630899999999997,7.7058900000000001]
[null,null,324,4.6924599999999996,7.4723100000000002]
[null,null,324.5,4.5257500000000004,7.2425100000000002]
[null,null,325,4.3629600000000002,7.01654]
[null,null,325.5,4.2040600000000001,6.7944599999999999]
["Not what you're looking for? Click here for a full list of our standard AR coatings.",null,326,4.0490599999999999,6.5762999999999998]
[null,null,326.5,3.8979200000000001,6.3621100000000004]
[null,null,327,3.7506400000000002,6.1519300000000001]
[null,null,327.5,3.60717,5.9457899999999997]
[null,null,328,3.4675099999999999,5.7437199999999997]
[null,null,328.5,3.33162,5.54575]
[null,null,329,3.1994799999999999,5.35189]
[null,null,329.5,3.0710299999999999,5.1621600000000001]
[null,null,330,2.9462600000000001,4.9765800000000002]
[null,null,330.5,2.8251300000000001,4.79514]
[null,null,331,2.7075900000000002,4.6178499999999998]
[null,null,331.5,2.5935999999999999,4.4447200000000002]
[null,null,332,2.4831300000000001,4.2757399999999999]
[null,null,332.5,2.3761199999999998,4.1109]
[null,null,333,2.2725300000000002,3.9501900000000001]
[null,null,333.5,2.17232,3.79359]
[null,null,334,2.0754299999999999,3.6410900000000002]
[null,null,334.5,1.9818100000000001,3.4926599999999999]
[null,null,335,1.89141,3.3482799999999999]
[null,null,335.5,1.8041799999999999,3.2079300000000002]
[null,null,336,1.72007,3.0715699999999999]
[null,null,336.5,1.6390199999999999,2.9391600000000002]
[null,null,337,1.56097,2.81067]
[null,null,337.5,1.4858800000000001,2.68607]
[null,null,338,1.41367,2.5653100000000002]
[null,null,338.5,1.3443000000000001,2.44835]
[null,null,339,1.2777099999999999,2.33514]
[null,null,339.5,1.21384,2.2256300000000002]
[null,null,340,1.15263,2.11978]
[null,null,340.5,1.09402,2.0175200000000002]
[null,null,341,1.0379499999999999,1.91882]
[null,null,341.5,0.98436999999999997,1.82361]
[null,null,342,0.93320999999999998,1.73184]
[null,null,342.5,0.88441999999999998,1.6434500000000001]
[null,null,343,0.83794000000000002,1.5583800000000001]
[null,null,343.5,0.79369999999999996,1.47658]
[null,null,344,0.75165999999999999,1.3979699999999999]
[null,null,344.5,0.71174000000000004,1.3225]
[null,null,345,0.67390000000000005,1.2501]
[null,null,345.5,0.63807999999999998,1.18072]
[null,null,346,0.60421000000000002,1.1142799999999999]
[null,null,346.5,0.57225000000000004,1.0507299999999999]
[null,null,347,0.54213,0.98999000000000004]
[null,null,347.5,0.51380000000000003,0.93201000000000001]
[null,null,348,0.48720000000000002,0.87670999999999999]
[null,null,348.5,0.46228000000000002,0.82403000000000004]
[null,null,349,0.43898999999999999,0.77390999999999999]
[null,null,349.5,0.41727999999999998,0.72628000000000004]
[null,null,350,0.39707999999999999,0.68108000000000002]
[null,null,350.5,0.37835000000000002,0.63822999999999996]
[null,null,351,0.36103000000000002,0.59767999999999999]
[null,null,351.5,0.34508,0.55935000000000001]
[null,null,352,0.33045000000000002,0.52319000000000004]
[null,null,352.5,0.31707999999999997,0.48914000000000002]
[null,null,353,0.30493999999999999,0.45711000000000002]
[null,null,353.5,0.29397000000000001,0.42707000000000001]
[null,null,354,0.28411999999999998,0.39893000000000001]
[null,null,354.5,0.27534999999999998,0.37264999999999998]
[null,null,355,0.26762000000000002,0.34815000000000002]
[null,null,355.5,0.26089000000000001,0.32538]
[null,null,356,0.25509999999999999,0.30429]
[null,null,356.5,0.25022,0.2848]
[null,null,357,0.24621000000000001,0.26685999999999999]
[null,null,357.5,0.24302000000000001,0.25041999999999998]
[null,null,358,0.24062,0.23541999999999999]
[null,null,358.5,0.23896999999999999,0.22181000000000001]
[null,null,359,0.23804,0.20952000000000001]
[null,null,359.5,0.23777999999999999,0.19852]
[null,null,360,0.23815,0.18873000000000001]
[null,null,360.5,0.23913999999999999,0.18012]
[null,null,361,0.24068999999999999,0.17263000000000001]
[null,null,361.5,0.24279000000000001,0.16622000000000001]
[null,null,362,0.24539,0.16083]
[null,null,362.5,0.24847,0.15642]
[null,null,363,0.252,0.15293999999999999]
[null,null,363.5,0.25594,0.15035000000000001]
[null,null,364,0.26027,0.14860999999999999]
[null,null,364.5,0.26495999999999997,0.14766000000000001]
[null,null,365,0.26998,0.14746999999999999]
[null,null,365.5,0.27531,0.14799999999999999]
[null,null,366,0.28093000000000001,0.14921000000000001]
[null,null,366.5,0.2868,0.15106]
[null,null,367,0.29291,0.15351000000000001]
[null,null,367.5,0.29923,0.15651999999999999]
[null,null,368,0.30574000000000001,0.16006999999999999]
[null,null,368.5,0.31242999999999999,0.16411000000000001]
[null,null,369,0.31925999999999999,0.16861000000000001]
[null,null,369.5,0.32622000000000001,0.17354]
[null,null,370,0.33328999999999998,0.17887]
[null,null,370.5,0.34045999999999998,0.18457000000000001]
[null,null,371,0.34770000000000001,0.19059999999999999]
[null,null,371.5,0.35499999999999998,0.19694999999999999]
[null,null,372,0.36234,0.20357]
[null,null,372.5,0.36970999999999998,0.21046000000000001]
[null,null,373,0.37708999999999998,0.21757000000000001]
[null,null,373.5,0.38446999999999998,0.22489000000000001]
[null,null,374,0.39183000000000001,0.23239000000000001]
[null,null,374.5,0.39917000000000002,0.24005000000000001]
[null,null,375,0.40645999999999999,0.24784999999999999]
[null,null,375.5,0.41371000000000002,0.25575999999999999]
[null,null,376,0.42088999999999999,0.26377]
[null,null,376.5,0.42798999999999998,0.27184999999999998]
[null,null,377,0.43502000000000002,0.27999000000000002]
[null,null,377.5,0.44195000000000001,0.28816999999999998]
[null,null,378,0.44878000000000001,0.29637000000000002]
[null,null,378.5,0.45549000000000001,0.30458000000000002]
[null,null,379,0.46209,0.31278]
[null,null,379.5,0.46856999999999999,0.32095000000000001]
[null,null,380,0.47489999999999999,0.32907999999999998]
[null,null,380.5,0.48110000000000003,0.33717000000000003]
[null,null,381,0.48715999999999998,0.34517999999999999]
[null,null,381.5,0.49306,0.35311999999999999]
[null,null,382,0.49880999999999998,0.36097000000000001]
[null,null,382.5,0.50439000000000001,0.36871999999999999]
[null,null,383,0.50980999999999999,0.37636999999999998]
[null,null,383.5,0.51505999999999996,0.38389000000000001]
[null,null,384,0.52012999999999998,0.39128000000000002]
[null,null,384.5,0.52503,0.39854000000000001]
[null,null,385,0.52975000000000005,0.40565000000000001]
[null,null,385.5,0.53427999999999998,0.41260999999999998]
[null,null,386,0.53863000000000005,0.41941000000000001]
[null,null,386.5,0.54278999999999999,0.42604999999999998]
[null,null,387,0.54676999999999998,0.43251000000000001]
[null,null,387.5,0.55054999999999998,0.43880000000000002]
[null,null,388,0.55413999999999997,0.44491000000000003]
[null,null,388.5,0.55754000000000004,0.45083000000000001]
[null,null,389,0.56074000000000002,0.45656000000000002]
[null,null,389.5,0.56374999999999997,0.46209]
[null,null,390,0.56657000000000002,0.46743000000000001]
[null,null,390.5,0.56918999999999997,0.47256999999999999]
[null,null,391,0.57162000000000002,0.47750999999999999]
[null,null,391.5,0.57386000000000004,0.48224]
[null,null,392,0.57589999999999997,0.48676000000000003]
[null,null,392.5,0.57776000000000005,0.49108000000000002]
[null,null,393,0.57942000000000005,0.49519000000000002]
[null,null,393.5,0.58089999999999997,0.49908999999999998]
[null,null,394,0.58218000000000003,0.50278]
[null,null,394.5,0.58328999999999998,0.50624999999999998]
[null,null,395,0.58420000000000005,0.50951999999999997]
[null,null,395.5,0.58494000000000002,0.51258000000000004]
[null,null,396,0.58550000000000002,0.51543000000000005]
[null,null,396.5,0.58587999999999996,0.51807000000000003]
[null,null,397,0.58608000000000005,0.52049999999999996]
[null,null,397.5,0.58611000000000002,0.52273000000000003]
[null,null,398,0.58596999999999999,0.52475000000000005]
[null,null,398.5,0.58567000000000002,0.52656999999999998]
[null,null,399,0.58520000000000005,0.52817999999999998]
[null,null,399.5,0.58455999999999997,0.52959999999999996]
[null,null,400,0.58377000000000001,0.53081999999999996]
[null,null,400.5,0.58282999999999996,0.53185000000000004]
[null,null,401,0.58172999999999997,0.53268000000000004]
[null,null,401.5,0.58048,0.53332999999999997]
[null,null,402,0.57908000000000004,0.53378999999999999]
[null,null,402.5,0.57755000000000001,0.53407000000000004]
[null,null,403,0.57586999999999999,0.53415999999999997]
[null,null,403.5,0.57406000000000001,0.53408]
[null,null,404,0.57211999999999996,0.53383000000000003]
[null,null,404.5,0.57003999999999999,0.53341000000000005]
[null,null,405,0.56784999999999997,0.53281999999999996]
[null,null,405.5,0.56552999999999998,0.53207000000000004]
[null,null,406,0.56308999999999998,0.53115999999999997]
[null,null,406.5,0.56054000000000004,0.53008999999999995]
[null,null,407,0.55788000000000004,0.52886999999999995]
[null,null,407.5,0.55510999999999999,0.52751000000000003]
[null,null,408,0.55223999999999995,0.52600000000000002]
[null,null,408.5,0.54927000000000004,0.52434999999999998]
[null,null,409,0.54620000000000002,0.52256999999999998]
[null,null,409.5,0.54305000000000003,0.52064999999999995]
[null,null,410,0.53979999999999995,0.51861000000000002]
[null,null,410.5,0.53647,0.51644000000000001]
[null,null,411,0.53305999999999998,0.51415999999999995]
[null,null,411.5,0.52956999999999999,0.51175999999999999]
[null,null,412,0.52600999999999998,0.50926000000000005]
[null,null,412.5,0.52237999999999996,0.50663999999999998]
[null,null,413,0.51868999999999998,0.50392999999999999]
[null,null,413.5,0.51493,0.50111000000000006]
[null,null,414,0.51110999999999995,0.49820999999999999]
[null,null,414.5,0.50724000000000002,0.49520999999999998]
[null,null,415,0.50331999999999999,0.49213000000000001]
[null,null,415.5,0.49935000000000002,0.48897000000000002]
[null,null,416,0.49534,0.48573]
[null,null,416.5,0.49127999999999999,0.48242000000000002]
[null,null,417,0.48719000000000001,0.47904999999999998]
[null,null,417.5,0.48307,0.47560999999999998]
[null,null,418,0.47891,0.47210000000000002]
[null,null,418.5,0.47472999999999999,0.46855000000000002]
[null,null,419,0.47051999999999999,0.46494000000000002]
[null,null,419.5,0.46628999999999998,0.46128999999999998]
[null,null,420,0.46205000000000002,0.45759]
[null,null,420.5,0.45778999999999997,0.45384999999999998]
[null,null,421,0.45351999999999998,0.45007000000000003]
[null,null,421.5,0.44923999999999997,0.44627]
[null,null,422,0.44495000000000001,0.44242999999999999]
[null,null,422.5,0.44067000000000001,0.43857000000000002]
[null,null,423,0.43637999999999999,0.43469000000000002]
[null,null,423.5,0.43209999999999998,0.43079000000000001]
[null,null,424,0.42782999999999999,0.42687999999999998]
[null,null,424.5,0.42355999999999999,0.42296]
[null,null,425,0.41931000000000002,0.41903000000000001]
[null,null,425.5,0.41506999999999999,0.41510000000000002]
[null,null,426,0.41084999999999999,0.41116999999999998]
[null,null,426.5,0.40664,0.40725]
[null,null,427,0.40245999999999998,0.40332000000000001]
[null,null,427.5,0.39831,0.39940999999999999]
[null,null,428,0.39417999999999997,0.39551999999999998]
[null,null,428.5,0.39007999999999998,0.39162999999999998]
[null,null,429,0.38601000000000002,0.38777]
[null,null,429.5,0.38197999999999999,0.38392999999999999]
[null,null,430,0.37797999999999998,0.38011]
[null,null,430.5,0.37402000000000002,0.37631999999999999]
[null,null,431,0.37009999999999998,0.37256]
[null,null,431.5,0.36621999999999999,0.36884]
[null,null,432,0.36237999999999998,0.36514999999999997]
[null,null,432.5,0.35859000000000002,0.36148999999999998]
[null,null,433,0.35485,0.35787999999999998]
[null,null,433.5,0.35116000000000003,0.35431000000000001]
[null,null,434,0.34752,0.35077999999999998]
[null,null,434.5,0.34392,0.3473]
[null,null,435,0.34039000000000003,0.34387000000000001]
[null,null,435.5,0.33690999999999999,0.34049000000000001]
[null,null,436,0.33348,0.33716000000000002]
[null,null,436.5,0.33012000000000002,0.33389000000000002]
[null,null,437,0.32680999999999999,0.33067999999999997]
[null,null,437.5,0.32356000000000001,0.32751999999999998]
[null,null,438,0.32038,0.32443]
[null,null,438.5,0.31725999999999999,0.32140000000000002]
[null,null,439,0.31419999999999998,0.31842999999999999]
[null,null,439.5,0.31120999999999999,0.31552000000000002]
[null,null,440,0.30828,0.31269000000000002]
[null,null,440.5,0.30542000000000002,0.30991999999999997]
[null,null,441,0.30263000000000001,0.30721999999999999]
[null,null,441.5,0.29991000000000001,0.30459000000000003]
[null,null,442,0.29726000000000002,0.30203000000000002]
[null,null,442.5,0.29466999999999999,0.29953999999999997]
[null,null,443,0.29215999999999998,0.29713000000000001]
[null,null,443.5,0.28971999999999998,0.29480000000000001]
[null,null,444,0.28734999999999999,0.29254000000000002]
[null,null,444.5,0.28505999999999998,0.29036000000000001]
[null,null,445,0.28283999999999998,0.28825000000000001]
[null,null,445.5,0.28069,0.28621999999999997]
[null,null,446,0.27861999999999998,0.28427999999999998]
[null,null,446.5,0.27661999999999998,0.28240999999999999]
[null,null,447,0.27468999999999999,0.28061999999999998]
[null,null,447.5,0.27284000000000003,0.27890999999999999]
[null,null,448,0.27106000000000002,0.27728999999999998]
[null,null,448.5,0.26935999999999999,0.27573999999999999]
[null,null,449,0.26773999999999998,0.27428000000000002]
[null,null,449.5,0.26618999999999998,0.27289999999999998]
[null,null,450,0.26472000000000001,0.27160000000000001]
[null,null,450.5,0.26332,0.27039000000000002]
[null,null,451,0.26200000000000001,0.26926]
[null,null,451.5,0.26074999999999998,0.26821]
[null,null,452,0.25957999999999998,0.26723999999999998]
[null,null,452.5,0.25847999999999999,0.26635999999999999]
[null,null,453,0.25746000000000002,0.26556000000000002]
[null,null,453.5,0.25651000000000002,0.26484999999999997]
[null,null,454,0.25563000000000002,0.26421]
[null,null,454.5,0.25483,0.26366000000000001]
[null,null,455,0.25411,0.26318999999999998]
[null,null,455.5,0.25346000000000002,0.26279999999999998]
[null,null,456,0.25287999999999999,0.26250000000000001]
[null,null,456.5,0.25236999999999998,0.26228000000000001]
[null,null,457,0.25194,0.26212999999999997]
[null,null,457.5,0.25157000000000002,0.26207000000000003]
[null,null,458,0.25128,0.26208999999999999]
[null,null,458.5,0.25106000000000001,0.26218999999999998]
[null,null,459,0.25091000000000002,0.26235999999999998]
[null,null,459.5,0.25083,0.26262000000000002]
[null,null,460,0.25080999999999998,0.26295000000000002]
[null,null,460.5,0.25086999999999998,0.26335999999999998]
[null,null,461,0.25098999999999999,0.26384999999999997]
[null,null,461.5,0.25118000000000001,0.26440999999999998]
[null,null,462,0.25144,0.26505000000000001]
[null,null,462.5,0.25175999999999998,0.26576]
[null,null,463,0.25213999999999998,0.26654]
[null,null,463.5,0.25258999999999998,0.26740000000000003]
[null,null,464,0.25309999999999999,0.26833000000000001]
[null,null,464.5,0.25368000000000002,0.26933000000000001]
[null,null,465,0.25430999999999998,0.27039999999999997]
[null,null,465.5,0.25501000000000001,0.27154]
[null,null,466,0.25575999999999999,0.27274999999999999]
[null,null,466.5,0.25657999999999997,0.27403]
[null,null,467,0.25745000000000001,0.27537]
[null,null,467.5,0.25838,0.27678000000000003]
[null,null,468,0.25935999999999998,0.27825]
[null,null,468.5,0.26040000000000002,0.27977999999999997]
[null,null,469,0.26150000000000001,0.28138000000000002]
[null,null,469.5,0.26264999999999999,0.28304000000000001]
[null,null,470,0.26384999999999997,0.28475]
[null,null,470.5,0.2651,0.28653000000000001]
[null,null,471,0.26640000000000003,0.28836000000000001]
[null,null,471.5,0.26774999999999999,0.29025000000000001]
[null,null,472,0.26913999999999999,0.29220000000000002]
[null,null,472.5,0.27059,0.29420000000000002]
[null,null,473,0.27207999999999999,0.29625000000000001]
[null,null,473.5,0.27361999999999997,0.29836000000000001]
[null,null,474,0.2752,0.30051]
[null,null,474.5,0.27682000000000001,0.30271999999999999]
[null,null,475,0.27849000000000002,0.30497000000000002]
[null,null,475.5,0.28018999999999999,0.30726999999999999]
[null,null,476,0.28194000000000002,0.30962000000000001]
[null,null,476.5,0.28372000000000003,0.31201000000000001]
[null,null,477,0.28554000000000002,0.31444]
[null,null,477.5,0.28739999999999999,0.31691999999999998]
[null,null,478,0.28928999999999999,0.31942999999999999]
[null,null,478.5,0.29121999999999998,0.32199]
[null,null,479,0.29318,0.32457999999999998]
[null,null,479.5,0.29516999999999999,0.32721]
[null,null,480,0.29720000000000002,0.32988000000000001]
[null,null,480.5,0.29925000000000002,0.33257999999999999]
[null,null,481,0.30132999999999999,0.33532000000000001]
[null,null,481.5,0.30343999999999999,0.33807999999999999]
[null,null,482,0.30558000000000002,0.34088000000000002]
[null,null,482.5,0.30774000000000001,0.34371000000000002]
[null,null,483,0.30992999999999998,0.34655999999999998]
[null,null,483.5,0.31213999999999997,0.34943999999999997]
[null,null,484,0.31436999999999998,0.35235]
[null,null,484.5,0.31663000000000002,0.35527999999999998]
[null,null,485,0.31890000000000002,0.35824]
[null,null,485.5,0.32118999999999998,0.36120999999999998]
[null,null,486,0.32351000000000002,0.36420999999999998]
[null,null,486.5,0.32583000000000001,0.36723]
[null,null,487,0.32818000000000003,0.37025999999999998]
[null,null,487.5,0.33054,0.37331999999999999]
[null,null,488,0.33290999999999998,0.37637999999999999]
[null,null,488.5,0.33528999999999998,0.37946999999999997]
[null,null,489,0.33768999999999999,0.38256000000000001]
[null,null,489.5,0.34010000000000001,0.38567000000000001]
[null,null,490,0.34250999999999998,0.38879000000000002]
[null,null,490.5,0.34494000000000002,0.39190999999999998]
[null,null,491,0.34737000000000001,0.39505000000000001]
[null,null,491.5,0.34981000000000001,0.39818999999999999]
[null,null,492,0.35226000000000002,0.40133999999999997]
[null,null,492.5,0.35471000000000003,0.40450000000000003]
[null,null,493,0.35715999999999998,0.40766000000000002]
[null,null,493.5,0.35962,0.41082000000000002]
[null,null,494,0.36208000000000001,0.41398000000000001]
[null,null,494.5,0.36453000000000002,0.41715000000000002]
[null,null,495,0.36698999999999998,0.42031000000000002]
[null,null,495.5,0.36945,0.42347000000000001]
[null,null,496,0.37191000000000002,0.42663000000000001]
[null,null,496.5,0.37436000000000003,0.42978]
[null,null,497,0.37680999999999998,0.43292999999999998]
[null,null,497.5,0.37924999999999998,0.43608000000000002]
[null,null,498,0.38168999999999997,0.43920999999999999]
[null,null,498.5,0.38412000000000002,0.44234000000000001]
[null,null,499,0.38653999999999999,0.44546000000000002]
[null,null,499.5,0.38895999999999997,0.44857000000000002]
[null,null,500,0.39135999999999999,0.45167000000000002]
[null,null,500.5,0.39376,0.45476]
[null,null,501,0.39615,0.45783000000000001]
[null,null,501.5,0.39851999999999999,0.46089000000000002]
[null,null,502,0.40088000000000001,0.46394000000000002]
[null,null,502.5,0.40322999999999998,0.46697]
[null,null,503,0.40556999999999999,0.46998000000000001]
[null,null,503.5,0.40788000000000002,0.47298000000000001]
[null,null,504,0.41019,0.47594999999999998]
[null,null,504.5,0.41248000000000001,0.47891]
[null,null,505,0.41475000000000001,0.48185]
[null,null,505.5,0.41699999999999998,0.48476000000000002]
[null,null,506,0.41924,0.48765999999999998]
[null,null,506.5,0.42144999999999999,0.49053000000000002]
[null,null,507,0.42365000000000003,0.49337999999999999]
[null,null,507.5,0.42581999999999998,0.49619999999999997]
[null,null,508,0.42798000000000003,0.499]
[null,null,508.5,0.43010999999999999,0.50178]
[null,null,509,0.43221999999999999,0.50453000000000003]
[null,null,509.5,0.43430999999999997,0.50724999999999998]
[null,null,510,0.43636999999999998,0.50993999999999995]
[null,null,510.5,0.43841000000000002,0.51259999999999994]
[null,null,511,0.44041999999999998,0.51524000000000003]
[null,null,511.5,0.44241000000000003,0.51783999999999997]
[null,null,512,0.44436999999999999,0.52041999999999999]
[null,null,512.5,0.44630999999999998,0.52295999999999998]
[null,null,513,0.44822000000000001,0.52546999999999999]
[null,null,513.5,0.4501,0.52795000000000003]
[null,null,514,0.45195000000000002,0.53039999999999998]
[null,null,514.5,0.45378000000000002,0.53281000000000001]
[null,null,515,0.45556999999999997,0.53519000000000005]
[null,null,515.5,0.45734000000000002,0.53754000000000002]
[null,null,516,0.45907999999999999,0.53983999999999999]
[null,null,516.5,0.46078000000000002,0.54212000000000005]
[null,null,517,0.46245999999999998,0.54435999999999996]
[null,null,517.5,0.46410000000000001,0.54656000000000005]
[null,null,518,0.46571000000000001,0.54871999999999999]
[null,null,518.5,0.46728999999999998,0.55084999999999995]
[null,null,519,0.46883999999999998,0.55293999999999999]
[null,null,519.5,0.47034999999999999,0.55498000000000003]
[null,null,520,0.47183000000000003,0.55700000000000005]
[null,null,520.5,0.47327999999999998,0.55896999999999997]
[null,null,521,0.47469,0.56089999999999995]
[null,null,521.5,0.47606999999999999,0.56279000000000001]
[null,null,522,0.47741,0.56464000000000003]
[null,null,522.5,0.47871999999999998,0.56645999999999996]
[null,null,523,0.47999000000000003,0.56823000000000001]
[null,null,523.5,0.48122999999999999,0.56996000000000002]
[null,null,524,0.48243000000000003,0.57164000000000004]
[null,null,524.5,0.48359000000000002,0.57328999999999997]
[null,null,525,0.48471999999999998,0.57489000000000001]
[null,null,525.5,0.48581000000000002,0.57645000000000002]
[null,null,526,0.48687000000000002,0.57796999999999998]
[null,null,526.5,0.48788999999999999,0.57945000000000002]
[null,null,527,0.48887000000000003,0.58087999999999995]
[null,null,527.5,0.48981000000000002,0.58226999999999995]
[null,null,528,0.49071999999999999,0.58362000000000003]
[null,null,528.5,0.49159000000000003,0.58492]
[null,null,529,0.49242000000000002,0.58618000000000003]
[null,null,529.5,0.49320999999999998,0.58738999999999997]
[null,null,530,0.49396000000000001,0.58855999999999997]
[null,null,530.5,0.49468000000000001,0.58969000000000005]
[null,null,531,0.49535000000000001,0.59077000000000002]
[null,null,531.5,0.49598999999999999,0.59180999999999995]
[null,null,532,0.49658999999999998,0.59279999999999999]
[null,null,532.5,0.49714999999999998,0.59375]
[null,null,533,0.49767,0.59465000000000001]
[null,null,533.5,0.49815999999999999,0.59550999999999998]
[null,null,534,0.49859999999999999,0.59633000000000003]
[null,null,534.5,0.499,0.59709999999999996]
[null,null,535,0.49936999999999998,0.59782000000000002]
[null,null,535.5,0.49969999999999998,0.59850000000000003]
[null,null,536,0.49997999999999998,0.59913000000000005]
[null,null,536.5,0.50022999999999995,0.59972999999999999]
[null,null,537,0.50044,0.60026999999999997]
[null,null,537.5,0.50061,0.60077000000000003]
[null,null,538,0.50073999999999996,0.60123000000000004]
[null,null,538.5,0.50083,0.60163999999999995]
[null,null,539,0.50088999999999995,0.60201000000000005]
[null,null,539.5,0.50090000000000001,0.60233000000000003]
[null,null,540,0.50087999999999999,0.60260999999999998]
[null,null,540.5,0.50080999999999998,0.60284000000000004]
[null,null,541,0.50070999999999999,0.60302999999999995]
[null,null,541.5,0.50056999999999996,0.60318000000000005]
[null,null,542,0.50039,0.60328000000000004]
[null,null,542.5,0.50017,0.60333999999999999]
[null,null,543,0.49991000000000002,0.60336000000000001]
[null,null,543.5,0.49962000000000001,0.60333000000000003]
[null,null,544,0.49928,0.60326000000000002]
[null,null,544.5,0.49891000000000002,0.60314000000000001]
[null,null,545,0.4985,0.60297999999999996]
[null,null,545.5,0.49806,0.60277999999999998]
[null,null,546,0.49757000000000001,0.60253999999999996]
[null,null,546.5,0.49704999999999999,0.60226000000000002]
[null,null,547,0.49648999999999999,0.60192999999999997]
[null,null,547.5,0.49590000000000001,0.60155999999999998]
[null,null,548,0.49525999999999998,0.60114999999999996]
[null,null,548.5,0.49458999999999997,0.60070000000000001]
[null,null,549,0.49389,0.60021000000000002]
[null,null,549.5,0.49314000000000002,0.59967000000000004]
[null,null,550,0.49236999999999997,0.59909999999999997]
[null,null,550.5,0.49154999999999999,0.59848999999999997]
[null,null,551,0.49070000000000003,0.59782999999999997]
[null,null,551.5,0.48981999999999998,0.59714]
[null,null,552,0.4889,0.59641]
[null,null,552.5,0.48793999999999998,0.59563999999999995]
[null,null,553,0.48694999999999999,0.59482999999999997]
[null,null,553.5,0.48592999999999997,0.59397999999999995]
[null,null,554,0.48487000000000002,0.59309000000000001]
[null,null,554.5,0.48377999999999999,0.59216999999999997]
[null,null,555,0.48265000000000002,0.59121000000000001]
[null,null,555.5,0.48148999999999997,0.59021000000000001]
[null,null,556,0.4803,0.58916999999999997]
[null,null,556.5,0.47908000000000001,0.58809999999999996]
[null,null,557,0.47782000000000002,0.58699999999999997]
[null,null,557.5,0.47653000000000001,0.58584999999999998]
[null,null,558,0.47521000000000002,0.58467999999999998]
[null,null,558.5,0.47386,0.58345999999999998]
[null,null,559,0.47248000000000001,0.58221999999999996]
[null,null,559.5,0.47105999999999998,0.58094000000000001]
[null,null,560,0.46961999999999998,0.57962000000000002]
[null,null,560.5,0.46814,0.57828000000000002]
[null,null,561,0.46664,0.57689999999999997]
[null,null,561.5,0.46511000000000002,0.57547999999999999]
[null,null,562,0.46354000000000001,0.57403999999999999]
[null,null,562.5,0.46195000000000003,0.57255999999999996]
[null,null,563,0.46033000000000002,0.57106000000000001]
[null,null,563.5,0.45867999999999998,0.56952000000000003]
[null,null,564,0.45701000000000003,0.56794999999999995]
[null,null,564.5,0.45530999999999999,0.56635999999999997]
[null,null,565,0.45357999999999998,0.56472999999999995]
[null,null,565.5,0.45182,0.56308000000000002]
[null,null,566,0.45004,0.56138999999999994]
[null,null,566.5,0.44823000000000002,0.55967999999999996]
[null,null,567,0.44640000000000002,0.55793999999999999]
[null,null,567.5,0.44453999999999999,0.55618000000000001]
[null,null,568,0.44264999999999999,0.55439000000000005]
[null,null,568.5,0.44074999999999998,0.55257000000000001]
[null,null,569,0.43881999999999999,0.55073000000000005]
[null,null,569.5,0.43686000000000003,0.54886000000000001]
[null,null,570,0.43487999999999999,0.54696999999999996]
[null,null,570.5,0.43287999999999999,0.54505000000000003]
[null,null,571,0.43086000000000002,0.54310999999999998]
[null,null,571.5,0.42881999999999998,0.54115000000000002]
[null,null,572,0.42675000000000002,0.53915999999999997]
[null,null,572.5,0.42466999999999999,0.53715000000000002]
[null,null,573,0.42255999999999999,0.53512000000000004]
[null,null,573.5,0.42043000000000003,0.53307000000000004]
[null,null,574,0.41829,0.53100000000000003]
[null,null,574.5,0.41611999999999999,0.52890999999999999]
[null,null,575,0.41393999999999997,0.52680000000000005]
[null,null,575.5,0.41172999999999998,0.52466999999999997]
[null,null,576,0.40950999999999999,0.52253000000000005]
[null,null,576.5,0.40727999999999998,0.52036000000000004]
[null,null,577,0.40501999999999999,0.51817999999999997]
[null,null,577.5,0.40275,0.51597999999999999]
[null,null,578,0.40045999999999998,0.51375999999999999]
[null,null,578.5,0.39816000000000001,0.51153000000000004]
[null,null,579,0.39584000000000003,0.50927999999999995]
[null,null,579.5,0.39351000000000003,0.50702000000000003]
[null,null,580,0.39116000000000001,0.50473999999999997]
[null,null,580.5,0.38879999999999998,0.50244999999999995]
[null,null,581,0.38641999999999999,0.50014999999999998]
[null,null,581.5,0.38403999999999999,0.49782999999999999]
[null,null,582,0.38163999999999998,0.49551000000000001]
[null,null,582.5,0.37922,0.49317]
[null,null,583,0.37680000000000002,0.49081999999999998]
[null,null,583.5,0.37436000000000003,0.48845]
[null,null,584,0.37191999999999997,0.48608000000000001]
[null,null,584.5,0.36946000000000001,0.48370000000000002]
[null,null,585,0.36698999999999998,0.48131000000000002]
[null,null,585.5,0.36452000000000001,0.47891]
[null,null,586,0.36203999999999997,0.47650999999999999]
[null,null,586.5,0.35954000000000003,0.47409000000000001]
[null,null,587,0.35704000000000002,0.47166999999999998]
[null,null,587.5,0.35453000000000001,0.46925]
[null,null,588,0.35202,0.46681]
[null,null,588.5,0.34949999999999998,0.46438000000000001]
[null,null,589,0.34697,0.46193000000000001]
[null,null,589.5,0.34444000000000002,0.45949000000000001]
[null,null,590,0.34189999999999998,0.45704]
[null,null,590.5,0.33934999999999998,0.45457999999999998]
[null,null,591,0.33681,0.45212999999999998]
[null,null,591.5,0.33424999999999999,0.44967000000000001]
[null,null,592,0.33169999999999999,0.44721]
[null,null,592.5,0.32913999999999999,0.44474999999999998]
[null,null,593,0.32657999999999998,0.44229000000000002]
[null,null,593.5,0.32401999999999997,0.43983]
[null,null,594,0.32146000000000002,0.43736999999999998]
[null,null,594.5,0.31889000000000001,0.43491000000000002]
[null,null,595,0.31633,0.43245]
[null,null,595.5,0.31375999999999998,0.43]
[null,null,596,0.31119000000000002,0.42754999999999999]
[null,null,596.5,0.30863000000000002,0.42509999999999998]
[null,null,597,0.30607000000000001,0.42265000000000003]
[null,null,597.5,0.30351,0.42020999999999997]
[null,null,598,0.30095,0.41776999999999997]
[null,null,598.5,0.29838999999999999,0.41533999999999999]
[null,null,599,0.29583999999999999,0.41292000000000001]
[null,null,599.5,0.29329,0.41049999999999998]
[null,null,600,0.29074,0.40809000000000001]
[null,null,600.5,0.28820000000000001,0.40569]
[null,null,601,0.28566000000000003,0.40328999999999998]
[null,null,601.5,0.28312999999999999,0.40089999999999998]
[null,null,602,0.28060000000000002,0.39851999999999999]
[null,null,602.5,0.27809,0.39615]
[null,null,603,0.27556999999999998,0.39378999999999997]
[null,null,603.5,0.27306999999999998,0.39144000000000001]
[null,null,604,0.27056999999999998,0.38911000000000001]
[null,null,604.5,0.26807999999999998,0.38678000000000001]
[null,null,605,0.2656,0.38446000000000002]
[null,null,605.5,0.26312000000000002,0.38216]
[null,null,606,0.26066,0.37986999999999999]
[null,null,606.5,0.25819999999999999,0.37758999999999998]
[null,null,607,0.25575999999999999,0.37533]
[null,null,607.5,0.25333,0.37308000000000002]
[null,null,608,0.25090000000000001,0.37085000000000001]
[null,null,608.5,0.24848999999999999,0.36863000000000001]
[null,null,609,0.24609,0.36642999999999998]
[null,null,609.5,0.24371000000000001,0.36424000000000001]
[null,null,610,0.24132999999999999,0.36208000000000001]
[null,null,610.5,0.23896999999999999,0.35992000000000002]
[null,null,611,0.23662,0.35779]
[null,null,611.5,0.23429,0.35566999999999999]
[null,null,612,0.23197000000000001,0.35358000000000001]
[null,null,612.5,0.22967000000000001,0.35149999999999998]
[null,null,613,0.22738,0.34943999999999997]
[null,null,613.5,0.22509999999999999,0.34739999999999999]
[null,null,614,0.22284000000000001,0.34538000000000002]
[null,null,614.5,0.22059999999999999,0.34338000000000002]
[null,null,615,0.21837999999999999,0.34140999999999999]
[null,null,615.5,0.21617,0.33944999999999997]
[null,null,616,0.21398,0.33751999999999999]
[null,null,616.5,0.21181,0.33561000000000002]
[null,null,617,0.20966000000000001,0.33372000000000002]
[null,null,617.5,0.20752000000000001,0.33185999999999999]
[null,null,618,0.2054,0.33001999999999998]
[null,null,618.5,0.20330999999999999,0.32819999999999999]
[null,null,619,0.20122999999999999,0.32640999999999998]
[null,null,619.5,0.19918,0.32464999999999999]
[null,null,620,0.19714000000000001,0.32290999999999997]
[null,null,620.5,0.19513,0.32119999999999999]
[null,null,621,0.19313,0.31951000000000002]
[null,null,621.5,0.19116,0.31785000000000002]
[null,null,622,0.18920999999999999,0.31622]
[null,null,622.5,0.18729000000000001,0.31461]
[null,null,623,0.18537999999999999,0.31302999999999997]
[null,null,623.5,0.1835,0.31147999999999998]
[null,null,624,0.18165000000000001,0.30996000000000001]
[null,null,624.5,0.17982000000000001,0.30847000000000002]
[null,null,625,0.17801,0.30701000000000001]
[null,null,625.5,0.17621999999999999,0.30558000000000002]
[null,null,626,0.17446999999999999,0.30418000000000001]
[null,null,626.5,0.17272999999999999,0.30281000000000002]
[null,null,627,0.17102999999999999,0.30147000000000002]
[null,null,627.5,0.16933999999999999,0.30016999999999999]
[null,null,628,0.16769000000000001,0.29888999999999999]
[null,null,628.5,0.16606000000000001,0.29765000000000003]
[null,null,629,0.16446,0.29643999999999998]
[null,null,629.5,0.16289000000000001,0.29526000000000002]
[null,null,630,0.16134000000000001,0.29410999999999998]
[null,null,630.5,0.15981999999999999,0.29299999999999998]
[null,null,631,0.15833,0.29193000000000002]
[null,null,631.5,0.15687000000000001,0.29088000000000003]
[null,null,632,0.15543999999999999,0.28988000000000003]
[null,null,632.5,0.15404000000000001,0.28889999999999999]
[null,null,633,0.15267,0.28795999999999999]
[null,null,633.5,0.15132000000000001,0.28705999999999998]
[null,null,634,0.15001,0.28620000000000001]
[null,null,634.5,0.14873,0.28537000000000001]
[null,null,635,0.14748,0.28456999999999999]
[null,null,635.5,0.14626,0.28382000000000002]
[null,null,636,0.14507,0.28310000000000002]
[null,null,636.5,0.14391000000000001,0.28242]
[null,null,637,0.14279,0.28177999999999997]
[null,null,637.5,0.14169999999999999,0.28116999999999998]
[null,null,638,0.14063999999999999,0.28060000000000002]
[null,null,638.5,0.13961000000000001,0.28008]
[null,null,639,0.13861999999999999,0.27959000000000001]
[null,null,639.5,0.13766,0.27914]
[null,null,640,0.13672999999999999,0.27872999999999998]
[null,null,640.5,0.13583999999999999,0.27836]
[null,null,641,0.13497999999999999,0.27803]
[null,null,641.5,0.13416,0.27773999999999999]
[null,null,642,0.13336999999999999,0.27749000000000001]
[null,null,642.5,0.13261999999999999,0.27728000000000003]
[null,null,643,0.13189999999999999,0.27711999999999998]
[null,null,643.5,0.13122,0.27699000000000001]
[null,null,644,0.13056999999999999,0.27690999999999999]
[null,null,644.5,0.12995999999999999,0.27687]
[null,null,645,0.12938,0.27687]
[null,null,645.5,0.12884999999999999,0.27692]
[null,null,646,0.12834000000000001,0.27700000000000002]
[null,null,646.5,0.12787999999999999,0.27712999999999999]
[null,null,647,0.12745000000000001,0.27731]
[null,null,647.5,0.12706000000000001,0.27751999999999999]
[null,null,648,0.12670999999999999,0.27778000000000003]
[null,null,648.5,0.12640000000000001,0.27809]
[null,null,649,0.12612000000000001,0.27844000000000002]
[null,null,649.5,0.12587999999999999,0.27883000000000002]
[null,null,650,0.12569,0.27927000000000002]
[null,null,650.5,0.12553,0.27975]
[null,null,651,0.12540000000000001,0.28027999999999997]
[null,null,651.5,0.12531999999999999,0.28084999999999999]
[null,null,652,0.12528,0.28147]
[null,null,652.5,0.12528,0.28212999999999999]
[null,null,653,0.12531999999999999,0.28283999999999998]
[null,null,653.5,0.12539,0.28360000000000002]
[null,null,654,0.12551000000000001,0.28439999999999999]
[null,null,654.5,0.12567,0.28523999999999999]
[null,null,655,0.12587000000000001,0.28614000000000001]
[null,null,655.5,0.12609999999999999,0.28708]
[null,null,656,0.12637999999999999,0.28806999999999999]
[null,null,656.5,0.12670999999999999,0.28910999999999998]
[null,null,657,0.12706999999999999,0.29019]
[null,null,657.5,0.12747,0.29132000000000002]
[null,null,658,0.12792000000000001,0.29249999999999998]
[null,null,658.5,0.12839999999999999,0.29371999999999998]
[null,null,659,0.12892999999999999,0.29499999999999998]
[null,null,659.5,0.1295,0.29631999999999997]
[null,null,660,0.13012000000000001,0.29769000000000001]
[null,null,660.5,0.13077,0.29909999999999998]
[null,null,661,0.13147,0.30057]
[null,null,661.5,0.13220999999999999,0.30209000000000003]
[null,null,662,0.13300000000000001,0.30364999999999998]
[null,null,662.5,0.13383,0.30525999999999998]
[null,null,663,0.13469999999999999,0.30692999999999998]
[null,null,663.5,0.13561000000000001,0.30864000000000003]
[null,null,664,0.13657,0.31040000000000001]
[null,null,664.5,0.13757,0.31220999999999999]
[null,null,665,0.13861000000000001,0.31407000000000002]
[null,null,665.5,0.13969999999999999,0.31597999999999998]
[null,null,666,0.14083999999999999,0.31794]
[null,null,666.5,0.14201,0.31994]
[null,null,667,0.14323,0.32200000000000001]
[null,null,667.5,0.14449999999999999,0.32411000000000001]
[null,null,668,0.14581,0.32627]
[null,null,668.5,0.14716000000000001,0.32847999999999999]
[null,null,669,0.14856,0.33073999999999998]
[null,null,669.5,0.15,0.33305000000000001]
[null,null,670,0.15149000000000001,0.33540999999999999]
[null,null,670.5,0.15303,0.33782000000000001]
[null,null,671,0.15459999999999999,0.34028000000000003]
[null,null,671.5,0.15623000000000001,0.34279999999999999]
[null,null,672,0.15790000000000001,0.34536]
[null,null,672.5,0.15961,0.34797]
[null,null,673,0.16137000000000001,0.35064000000000001]
[null,null,673.5,0.16317999999999999,0.35336000000000001]
[null,null,674,0.16503000000000001,0.35611999999999999]
[null,null,674.5,0.16693,0.35893999999999998]
[null,null,675,0.16886999999999999,0.36181000000000002]
[null,null,675.5,0.17086000000000001,0.36473]
[null,null,676,0.17288999999999999,0.36770000000000003]
[null,null,676.5,0.17496999999999999,0.37073]
[null,null,677,0.17710000000000001,0.37380000000000002]
[null,null,677.5,0.17927000000000001,0.37692999999999999]
[null,null,678,0.18149000000000001,0.38011]
[null,null,678.5,0.18375,0.38334000000000001]
[null,null,679,0.18606,0.38662000000000002]
[null,null,679.5,0.18842,0.38995000000000002]
[null,null,680,0.19083,0.39334000000000002]
[null,null,680.5,0.19328000000000001,0.39677000000000001]
[null,null,681,0.19577,0.40026]
[null,null,681.5,0.19832,0.40379999999999999]
[null,null,682,0.20091000000000001,0.40738999999999997]
[null,null,682.5,0.20355000000000001,0.41104000000000002]
[null,null,683,0.20623,0.41472999999999999]
[null,null,683.5,0.20896000000000001,0.41848000000000002]
[null,null,684,0.21174000000000001,0.42227999999999999]
[null,null,684.5,0.21456,0.42613000000000001]
[null,null,685,0.21743000000000001,0.43003000000000002]
[null,null,685.5,0.22034999999999999,0.43397999999999998]
[null,null,686,0.22331999999999999,0.43798999999999999]
[null,null,686.5,0.22633,0.44205]
[null,null,687,0.22939000000000001,0.44614999999999999]
[null,null,687.5,0.23249,0.45032]
[null,null,688,0.23563999999999999,0.45452999999999999]
[null,null,688.5,0.23884,0.45878999999999998]
[null,null,689,0.24209,0.46311000000000002]
[null,null,689.5,0.24537999999999999,0.46748000000000001]
[null,null,690,0.24872,0.47189999999999999]
[null,null,690.5,0.25211,0.47637000000000002]
[null,null,691,0.25555,0.48088999999999998]
[null,null,691.5,0.25902999999999998,0.48546]
[null,null,692,0.26256000000000002,0.49009000000000003]
[null,null,692.5,0.26612999999999998,0.49476999999999999]
[null,null,693,0.26976,0.4995]
[null,null,693.5,0.27343000000000001,0.50427999999999995]
[null,null,694,0.27714,0.50910999999999995]
[null,null,694.5,0.28090999999999999,0.51398999999999995]
[null,null,695,0.28471999999999997,0.51893]
[null,null,695.5,0.28858,0.52390999999999999]
[null,null,696,0.29248000000000002,0.52895000000000003]
[null,null,696.5,0.29643000000000003,0.53403999999999996]
[null,null,697,0.30042999999999997,0.53917999999999999]
[null,null,697.5,0.30447999999999997,0.54437000000000002]
[null,null,698,0.30857000000000001,0.54961000000000004]
[null,null,698.5,0.31270999999999999,0.55489999999999995]
[null,null,699,0.31690000000000002,0.56023999999999996]
[null,null,699.5,0.32113000000000003,0.56564000000000003]
[null,null,700,0.32540999999999998,0.57108000000000003]
[null,null,700.5,0.32973999999999998,0.57657999999999998]
[null,null,701,0.33411000000000002,0.58211999999999997]
[null,null,701.5,0.33853,0.58772000000000002]
[null,null,702,0.34300000000000003,0.59336999999999995]
[null,null,702.5,0.34750999999999999,0.59906000000000004]
[null,null,703,0.35206999999999999,0.60480999999999996]
[null,null,703.5,0.35668,0.61060999999999999]
[null,null,704,0.36132999999999998,0.61646000000000001]
[null,null,704.5,0.36603000000000002,0.62236000000000002]
[null,null,705,0.37076999999999999,0.62831000000000004]
[null,null,705.5,0.37557000000000001,0.63429999999999997]
[null,null,706,0.38040000000000002,0.64034999999999997]
[null,null,706.5,0.38529000000000002,0.64644999999999997]
[null,null,707,0.39022000000000001,0.65259999999999996]
[null,null,707.5,0.3952,0.65878999999999999]
[null,null,708,0.40022000000000002,0.66503999999999996]
[null,null,708.5,0.40528999999999998,0.67134000000000005]
[null,null,709,0.41039999999999999,0.67767999999999995]
[null,null,709.5,0.41555999999999998,0.68408000000000002]
[null,null,710,0.42076999999999998,0.69052000000000002]
[null,null,710.5,0.42602000000000001,0.69701000000000002]
[null,null,711,0.43131999999999998,0.70355000000000001]
[null,null,711.5,0.43665999999999999,0.71013999999999999]
[null,null,712,0.44205,0.71677999999999997]
[null,null,712.5,0.44747999999999999,0.72346999999999995]
[null,null,713,0.45295999999999997,0.73019999999999996]
[null,null,713.5,0.45849000000000001,0.73699000000000003]
[null,null,714,0.46405999999999997,0.74382000000000004]
[null,null,714.5,0.46966999999999998,0.75070000000000003]
[null,null,715,0.47532999999999997,0.75763000000000003]
[null,null,715.5,0.48104000000000002,0.76459999999999995]
[null,null,716,0.48679,0.77163000000000004]
[null,null,716.5,0.49258000000000002,0.77869999999999995]
[null,null,717,0.49841999999999997,0.78581000000000001]
[null,null,717.5,0.50429999999999997,0.79298000000000002]
[null,null,718,0.51022999999999996,0.80018999999999996]
[null,null,718.5,0.51620999999999995,0.80745]
[null,null,719,0.52222000000000002,0.81476000000000004]
[null,null,719.5,0.52827999999999997,0.82211000000000001]
[null,null,720,0.53439000000000003,0.82952000000000004]
[null,null,720.5,0.54054000000000002,0.83696000000000004]
[null,null,721,0.54673000000000005,0.84445999999999999]
[null,null,721.5,0.55296999999999996,0.85199999999999998]
[null,null,722,0.55925000000000002,0.85958000000000001]
[null,null,722.5,0.56557999999999997,0.86721000000000004]
[null,null,723,0.57194999999999996,0.87488999999999995]
[null,null,723.5,0.57835999999999999,0.88261999999999996]
[null,null,724,0.58481000000000005,0.89037999999999995]
[null,null,724.5,0.59131,0.8982]
[null,null,725,0.59784999999999999,0.90605999999999998]
[null,null,725.5,0.60443999999999998,0.91395999999999999]
[null,null,726,0.61107,0.92191000000000001]
[null,null,726.5,0.61773999999999996,0.92991000000000001]
[null,null,727,0.62444999999999995,0.93794999999999995]
[null,null,727.5,0.63119999999999998,0.94603000000000004]
[null,null,728,0.63800000000000001,0.95416000000000001]
[null,null,728.5,0.64483999999999997,0.96233999999999997]
[null,null,729,0.65173000000000003,0.97055000000000002]
[null,null,729.5,0.65864999999999996,0.97880999999999996]
[null,null,730,0.66561999999999999,0.98712]
[null,null,730.5,0.67262999999999995,0.99546999999999997]
[null,null,731,0.67967999999999995,1.00386]
[null,null,731.5,0.68676999999999999,1.0123]
[null,null,732,0.69389999999999996,1.02077]
[null,null,732.5,0.70108000000000004,1.0293000000000001]
[null,null,733,0.70828999999999998,1.03786]
[null,null,733.5,0.71555000000000002,1.04647]
[null,null,734,0.72284999999999999,1.0551200000000001]
[null,null,734.5,0.73019000000000001,1.0638099999999999]
[null,null,735,0.73756999999999995,1.07254]
[null,null,735.5,0.74499000000000004,1.0813200000000001]
[null,null,736,0.75244999999999995,1.0901400000000001]
[null,null,736.5,0.75995999999999997,1.099]
[null,null,737,0.76749999999999996,1.1079000000000001]
[null,null,737.5,0.77507999999999999,1.1168400000000001]
[null,null,738,0.78269999999999995,1.1258300000000001]
[null,null,738.5,0.79035999999999995,1.1348499999999999]
[null,null,739,0.79806999999999995,1.14392]
[null,null,739.5,0.80581000000000003,1.1530199999999999]
[null,null,740,0.81359000000000004,1.1621699999999999]
[null,null,740.5,0.82140999999999997,1.17136]
[null,null,741,0.82926999999999995,1.18059]
[null,null,741.5,0.83716999999999997,1.1898500000000001]
[null,null,742,0.84511000000000003,1.19916]
[null,null,742.5,0.85307999999999995,1.20851]
[null,null,743,0.86109999999999998,1.2179]
[null,null,743.5,0.86914999999999998,1.22732]
[null,null,744,0.87724000000000002,1.2367900000000001]
[null,null,744.5,0.88536999999999999,1.2462899999999999]
[null,null,745,0.89354,1.25583]
[null,null,745.5,0.90175000000000005,1.26542]
[null,null,746,0.90998999999999997,1.27504]
[null,null,746.5,0.91827000000000003,1.2846900000000001]
[null,null,747,0.92659000000000002,1.2943899999999999]
[null,null,747.5,0.93494999999999995,1.30413]
[null,null,748,0.94333999999999996,1.3139000000000001]
[null,null,748.5,0.95177,1.3237099999999999]
[null,null,749,0.96023999999999998,1.33355]
[null,null,749.5,0.96874000000000005,1.34344]
[null,null,750,0.97728000000000004,1.3533599999999999]
[null,null,750.5,0.98585999999999996,1.3633200000000001]
[null,null,751,0.99446999999999997,1.37331]
[null,null,751.5,1.00312,1.38334]
[null,null,752,1.0118100000000001,1.39341]
[null,null,752.5,1.0205299999999999,1.40351]
[null,null,753,1.02929,1.4136500000000001]
[null,null,753.5,1.0380799999999999,1.4238200000000001]
[null,null,754,1.04691,1.4340299999999999]
[null,null,754.5,1.0557700000000001,1.44428]
[null,null,755,1.06467,1.4545600000000001]
[null,null,755.5,1.0736000000000001,1.46488]
[null,null,756,1.08257,1.47523]
[null,null,756.5,1.0915699999999999,1.4856100000000001]
[null,null,757,1.1006100000000001,1.49603]
[null,null,757.5,1.10968,1.50648]
[null,null,758,1.11879,1.5169699999999999]
[null,null,758.5,1.1279300000000001,1.52749]
[null,null,759,1.1371,1.5380499999999999]
[null,null,759.5,1.1463099999999999,1.54864]
[null,null,760,1.1555500000000001,1.5592600000000001]
[null,null,760.5,1.16482,1.5699099999999999]
[null,null,761,1.1741299999999999,1.5806]
[null,null,761.5,1.18347,1.5913200000000001]
[null,null,762,1.1928399999999999,1.6020700000000001]
[null,null,762.5,1.20225,1.61286]
[null,null,763,1.2116899999999999,1.6236699999999999]
[null,null,763.5,1.22116,1.63452]
[null,null,764,1.2306600000000001,1.6454]
[null,null,764.5,1.2402,1.65632]
[null,null,765,1.24976,1.66726]
[null,null,765.5,1.25936,1.67824]
[null,null,766,1.2689900000000001,1.6892400000000001]
[null,null,766.5,1.2786500000000001,1.70028]
[null,null,767,1.2883500000000001,1.7113400000000001]
[null,null,767.5,1.2980700000000001,1.72244]
[null,null,768,1.30783,1.7335700000000001]
[null,null,768.5,1.3176099999999999,1.7447299999999999]
[null,null,769,1.3274300000000001,1.7559100000000001]
[null,null,769.5,1.33728,1.7671300000000001]
[null,null,770,1.3471500000000001,1.7783800000000001]