{"text_format":"2","workbook":"xlsx","n_sheets":2,"sheets":["1064nm Curve","1064nm"],"not_rendered":{"charts":2,"images":2,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[{"sheet":"1064nm Curve","index":0,"reason":"not_a_worksheet"}],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"1064nm","index":1,"n_rows":233,"n_cols":4,"rows_kept":233,"cut":false,"hidden":false,"merged":[[3,0,3,1],[4,0,4,1],[5,0,5,1],[6,0,11,1],[12,0,13,1]]}
[null,null,"λ (nm)","R (%)"]
[null,null,200,2.8200500000000002]
[null,null,202.00399999999999,1.0102]
["Theoretical Coating Data",null,204.02699999999999,0.26739000000000002]
["1064nm Laser V-Coat",null,206.071,0.60363999999999995]
["Coating Specification: Rabs <0.25% @ 1064nm",null,208.13499999999999,1.8422000000000001]
["This data represents the theoretical performance of the coating per surface and is for reference only. \nVariations in performance may occur, however the coating will achieve the minimum performance specification listed above within the specified wavelength range. For more information please contact our Product and Application Support.\n",null,210.221,3.6833300000000002]
[null,null,212.32599999999999,5.7901499999999997]
[null,null,214.453,7.8584899999999998]
[null,null,216.602,9.6542700000000004]
[null,null,218.77199999999999,11.0223]
[null,null,220.96299999999999,11.878690000000001]
["Not what you're looking for? Click here for a full list of our standard AR coatings.",null,223.17699999999999,12.19767]
[null,null,225.41300000000001,11.99939]
[null,null,227.67099999999999,11.34084]
[null,null,229.95099999999999,10.309290000000001]
[null,null,232.255,9.0165199999999999]
[null,null,234.58199999999999,7.5915699999999999]
[null,null,236.93199999999999,6.1704699999999999]
[null,null,239.30500000000001,4.8826499999999999]
[null,null,241.703,3.8357199999999998]
[null,null,244.124,3.10168]
[null,null,246.56899999999999,2.7083599999999999]
[null,null,249.03899999999999,2.63855]
[null,null,251.53399999999999,2.8439899999999998]
[null,null,254.054,3.2340499999999999]
[null,null,256.59899999999999,3.7282799999999998]
[null,null,259.17,4.2541599999999997]
[null,null,261.76600000000002,4.7453799999999999]
[null,null,264.38799999999998,5.1465199999999998]
[null,null,267.03699999999998,5.4158600000000003]
[null,null,269.71199999999999,5.5264100000000003]
[null,null,272.41399999999999,5.4659300000000002]
[null,null,275.14299999999997,5.2362599999999997]
[null,null,277.899,4.8523199999999997]
[null,null,280.68299999999999,4.3408100000000003]
[null,null,283.495,3.7385899999999999]
[null,null,286.33499999999998,3.0907]
[null,null,289.20299999999997,2.44773]
[null,null,292.10000000000002,1.86267]
[null,null,295.02699999999999,1.3872100000000001]
[null,null,297.98200000000003,1.0677099999999999]
[null,null,300.96699999999998,0.94194999999999995]
[null,null,303.98200000000003,1.0159899999999999]
[null,null,307.02699999999999,1.2902800000000001]
[null,null,310.10300000000001,1.7643599999999999]
[null,null,313.20999999999998,2.4264899999999998]
[null,null,316.34699999999998,3.2549899999999998]
[null,null,319.51600000000002,4.22037]
[null,null,322.71699999999998,5.2878299999999996]
[null,null,325.95,6.4198700000000004]
[null,null,329.21600000000001,7.5786499999999997]
[null,null,332.51400000000001,8.7279699999999991]
[null,null,335.84500000000003,9.8347200000000008]
[null,null,339.209,10.869809999999999]
[null,null,342.60700000000003,11.808630000000001]
[null,null,346.03899999999999,12.631169999999999]
[null,null,349.50599999999997,13.32189]
[null,null,353.00700000000001,13.865170000000001]
[null,null,356.54300000000001,14.267760000000001]
[null,null,360.11500000000001,14.526949999999999]
[null,null,363.72300000000001,14.64119]
[null,null,367.36599999999999,14.61129]
[null,null,371.04599999999999,14.44027]
[null,null,374.76400000000001,14.133190000000001]
[null,null,378.51799999999997,13.697010000000001]
[null,null,382.31,13.14058]
[null,null,386.14,12.47457]
[null,null,390.00799999999998,11.71144]
[null,null,393.91500000000002,10.865399999999999]
[null,null,397.86099999999999,9.9523299999999999]
[null,null,401.84699999999998,9.0034399999999994]
[null,null,405.87200000000001,8.0395099999999999]
[null,null,409.93799999999999,7.06304]
[null,null,414.04500000000002,6.0931100000000002]
[null,null,418.19299999999998,5.1490999999999998]
[null,null,422.38200000000001,4.2502800000000001]
[null,null,426.613,3.41526]
[null,null,430.887,2.6614800000000001]
[null,null,435.20400000000001,2.00468]
[null,null,439.56299999999999,1.45838]
[null,null,443.96699999999998,1.0334399999999999]
[null,null,448.41399999999999,0.73773]
[null,null,452.90600000000001,0.57589999999999997]
[null,null,457.44299999999998,0.54934000000000005]
[null,null,462.02600000000001,0.65622000000000003]
[null,null,466.654,0.89171]
[null,null,471.32900000000001,1.24831]
[null,null,476.05099999999999,1.71624]
[null,null,480.82,2.2839299999999998]
[null,null,485.637,2.93851]
[null,null,490.50200000000001,3.6663100000000002]
[null,null,495.41500000000002,4.45329]
[null,null,500.37799999999999,5.28348]
[null,null,505.39100000000002,6.1206300000000002]
[null,null,510.45400000000001,6.9765800000000002]
[null,null,515.56700000000001,7.8403200000000002]
[null,null,520.73199999999997,8.7017500000000005]
[null,null,525.94899999999996,9.5517099999999999]
[null,null,531.21799999999996,10.38208]
[null,null,536.53899999999999,11.185739999999999]
[null,null,541.91399999999999,11.956530000000001]
[null,null,547.34299999999996,12.689260000000001]
[null,null,552.82600000000002,13.379619999999999]
[null,null,558.36400000000003,14.02407]
[null,null,563.95799999999997,14.61985]
[null,null,569.60699999999997,15.16483]
[null,null,575.31299999999999,15.657489999999999]
[null,null,581.077,16.096830000000001]
[null,null,586.89800000000002,16.48227]
[null,null,592.77700000000004,16.813690000000001]
[null,null,598.71600000000001,17.091259999999998]
[null,null,604.71299999999997,17.320229999999999]
[null,null,610.77099999999996,17.494710000000001]
[null,null,616.89,17.61412]
[null,null,623.07000000000005,17.6798]
[null,null,629.31100000000004,17.693269999999998]
[null,null,635.61599999999999,17.656210000000002]
[null,null,641.98299999999995,17.570440000000001]
[null,null,648.41399999999999,17.437919999999998]
[null,null,654.91,17.26069]
[null,null,661.471,17.04091]
[null,null,668.09699999999998,16.780830000000002]
[null,null,674.79,16.48274]
[null,null,681.55,16.149039999999999]
[null,null,688.37699999999995,15.78218]
[null,null,695.27300000000002,15.384650000000001]
[null,null,702.23800000000006,14.96414]
[null,null,709.27300000000002,14.5299]
[null,null,716.37900000000002,14.07395]
[null,null,723.55499999999995,13.598660000000001]
[null,null,730.803,13.10638]
[null,null,738.12400000000002,12.599500000000001]
[null,null,745.51900000000001,12.08042]
[null,null,752.98699999999997,11.551500000000001]
[null,null,760.53,11.01512]
[null,null,768.149,10.47363]
[null,null,775.84400000000005,9.9293099999999992]
[null,null,783.61699999999996,9.3844399999999997]
[null,null,791.46699999999998,8.8412199999999999]
[null,null,799.39499999999998,8.3018099999999997]
[null,null,807.40300000000002,7.7682700000000002]
[null,null,815.49199999999996,7.2425800000000002]
[null,null,823.66099999999994,6.7266300000000001]
[null,null,831.91200000000003,6.2222299999999997]
[null,null,840.24599999999998,5.7310299999999996]
[null,null,848.66399999999999,5.2546099999999996]
[null,null,857.16499999999996,4.7944000000000004]
[null,null,865.75199999999995,4.3517000000000001]
[null,null,874.42499999999995,3.9276900000000001]
[null,null,883.18499999999995,3.5234000000000001]
[null,null,892.03200000000004,3.13971]
[null,null,900.96900000000005,2.77739]
[null,null,909.99400000000003,2.4370500000000002]
[null,null,919.11,2.1191499999999999]
[null,null,928.31799999999998,1.8240499999999999]
[null,null,937.61699999999996,1.5519499999999999]
[null,null,947.01,1.3029200000000001]
[null,null,956.49699999999996,1.07694]
[null,null,966.07899999999995,0.87383999999999995]
[null,null,975.75699999999995,0.69335999999999998]
[null,null,985.53200000000004,0.53515000000000001]
[null,null,995.40499999999997,0.39873999999999998]
[null,null,1005.376,0.28354000000000001]
[null,null,1015.448,0.18898000000000001]
[null,null,1025.6199999999999,0.11445]
[null,null,1035.895,5.9220000000000002E-2]
[null,null,1046.2719999999999,2.2499999999999999E-2]
[null,null,1056.7539999999999,3.4499999999999999E-3]
[null,null,1067.3399999999999,1.2099999999999999E-3]
[null,null,1078.0319999999999,1.489E-2]
[null,null,1088.8320000000001,4.36E-2]
[null,null,1099.739,8.6410000000000001E-2]
[null,null,1110.7560000000001,0.1424]
[null,null,1121.883,0.21065]
[null,null,1133.1220000000001,0.29026000000000002]
[null,null,1144.4739999999999,0.38031999999999999]
[null,null,1155.9390000000001,0.47994999999999999]
[null,null,1167.518,0.58828000000000003]
[null,null,1179.2139999999999,0.70447000000000004]
[null,null,1191.027,0.82769999999999999]
[null,null,1202.9590000000001,0.95718000000000003]
[null,null,1215.01,1.09215]
[null,null,1227.181,1.2318899999999999]
[null,null,1239.4749999999999,1.3756900000000001]
[null,null,1251.8920000000001,1.5228999999999999]
[null,null,1264.433,1.6728700000000001]
[null,null,1277.0999999999999,1.8250200000000001]
[null,null,1289.893,1.9787699999999999]
[null,null,1302.8150000000001,2.13361]
[null,null,1315.866,2.28904]
[null,null,1329.048,2.4445800000000002]
[null,null,1342.3630000000001,2.5998100000000002]
[null,null,1355.81,2.7543299999999999]
[null,null,1369.3920000000001,2.9077700000000002]
[null,null,1383.11,3.0597799999999999]
[null,null,1396.9659999999999,3.2100499999999998]
[null,null,1410.96,3.3582999999999998]
[null,null,1425.095,3.5042499999999999]
[null,null,1439.3710000000001,3.6476899999999999]
[null,null,1453.7909999999999,3.7883800000000001]
[null,null,1468.354,3.9261499999999998]
[null,null,1483.0640000000001,4.0608199999999997]
[null,null,1497.921,4.1922499999999996]
[null,null,1512.9269999999999,4.3212900000000003]
[null,null,1528.0830000000001,4.44712]
[null,null,1543.3910000000001,4.5694800000000004]
[null,null,1558.8520000000001,4.6882900000000003]
[null,null,1574.4680000000001,4.8034699999999999]
[null,null,1590.241,4.9149799999999999]
[null,null,1606.171,5.0227700000000004]
[null,null,1622.2619999999999,5.1268099999999999]
[null,null,1638.5129999999999,5.2270799999999999]
[null,null,1654.9269999999999,5.3235700000000001]
[null,null,1671.5060000000001,5.4162800000000004]
[null,null,1688.251,5.5052199999999996]
[null,null,1705.163,5.5903900000000002]
[null,null,1722.2449999999999,5.6718400000000004]
[null,null,1739.498,5.7495799999999999]
[null,null,1756.924,5.8236499999999998]
[null,null,1774.5239999999999,5.8940900000000003]
[null,null,1792.3009999999999,5.9609500000000004]
[null,null,1810.2560000000001,6.0242800000000001]
[null,null,1828.3910000000001,6.08413]
[null,null,1846.7070000000001,6.1405700000000003]
[null,null,1865.2070000000001,6.1936400000000003]
[null,null,1883.8920000000001,6.24343]
[null,null,1902.7639999999999,6.2899900000000004]
[null,null,1921.826,6.3333899999999996]
[null,null,1941.078,6.37371]
[null,null,1960.5229999999999,6.4110100000000001]
[null,null,1980.163,6.4453800000000001]
[null,null,2000,6.4768699999999999]